## Overall
ROCHESTER GAS & ELECTRIC CORPORATION
DERIVATION OF SYSTEMWIDE MARGINAL COSTS
|  |  | Upstream | Distribution
|  |  | [A] | [B]
-1 | Number of projects considered |  | 0 | 9
Marginal investment with general plant loading:
-2 | Investment in growth projects ($) |  | 0 | 103974188.0147
-3 | Investment in growth projects (kW) |  | 0 | 361500
-4 | Investment in growth projects ($/kW) | (2)/(3) | 0 | 287.6188
-5 | Typical reserve margin (%)1 |  | 0% | 30%
-6 | Investment in growth projects after reserve margin ($/kW) | (4)*[1+(5)] | 0 | 373.9044
-7 | Portion of the system that is growing (%) |  | 0% | 36%
-8 | Marginal investment ($/kW) | (6)*(7) | 0 | 134.6056
-9 | General plant loading (%)2 |  | 0% | 33.4%
-10 | Marginal investment with general plant loading ($/kW) | (8)*[1+(9)] | 0 | 179.5639
Annual cost before O&M and working capital:
-11 | Annual economic carrying charge related to capital investment (%)3 |  | 0% | 10.35%
-12 | A&G loading (plant-related) (%)4 |  | 0% | 0.03684%
-13 | Total annual carrying charge (%) | (11)+(12) | 0% | 10.38%
-14 | Annual cost before O&M and working capital ($/kW-year) | (10)*(13) | 0 | 18.6443
Annual O&M charge:
-15 | O&M expenses before spreading ($/kW-year)5 |  | 0 | 1.8572
-16 | O&M expenses after spreading ($/kW-year) | (7)*(15) | 0 | 0.66859
-17 | With A&G loading (non-plant-related) ($/kW-year)6 | (16)*1.89% | 0 | 0.012617
-18 | Annual O&M charge ($/kW-year) | (16)+(17) | 0 | 0.68121
Annual working capital charge:
-19 | Material and supplies ($/kW-year)7 | (10)*0.25% | 0 | 0.4457
-20 | Prepayments ($/kW-year)8 | (10)*1.20% | 0 | 2.1468
-21 | Cash working capital allowance ($/kW-year)9 | (18)*12.50% | 0 | 0.085151
-22 | Total working capital ($/kW-year) | (19)+(20)+(21) | 0 | 2.6776
-23 | Annual working capital charge ($/kW-year)10 | (22)*9.01% | 0 | 0.24113
-24 | Total annual cost before losses ($/kW-year) | (14)+(18)+(23) | 0 | 19.5666
-25 | Loss factor11 |  | 0 | 1.0555
-26 | Total annual cost ($/kW-year) | (24)*(25) | 0 | 20.6533
Footnotes:
1 | Sourced from the 2015 MCOS study performed by NERA for RG&E.
2 | Sourced from the 2015 MCOS study performed by NERA for RG&E. Based on historic cumulative additions to plant
using regressions of cumulative additions to general and common plant on cumulative additions to total plant less
common and general, functional dummy variable reflecting shifts in underlying costs.
3 | Reflects the first-year annual economic carrying charge related to incremental investments, incorporating the most
recent capital structure and WACC, including changes resulting from the 2017 Tax Act.
4 | Reflects the ratio of property insurance premiums to property insured.
5 | Relies principally on FERC Form 1 data to compare total distribution station O&M expenses to upstream and
distribution non-coincident peak load, adjusted by the labor and materials index.
6 | Relies principally on FERC Form 1 data to determine the ratio of social security and unemployment taxes to O&M less
fuel, purchased power and transmission by others.
7 | Relies principally on FERC Form 1 and PSC data to determine the ratio of materials and supplies relative to total
distribution plant.
8 | Relies principally on FERC Form 1 data to determine the ratio of electric distribution share of prepayments relative to
electric distribution plant.
9 | Per FERC approach of allowing 1/8 of O&M as a cash working capital allowance.
10 | Multiplies the total working capital by the revenue requirement for working capital factor, as derived from the
company's capital structure, cost of capital, and marginal tax rate.
11 | Accounts for demand losses occurring between the point at which the marginal costs are measured and the location of
the distributed generation on the system.

## LSRV + DRV
ROCHESTER GAS & ELECTRIC CORPORATION
DERIVATION OF MARGINAL COSTS
LOCATIONAL MARGINAL COST OF SERVICE FOR LSRV AND DRV AREAS
|  |  | Upstream |  | Dist. DRV |  | Distribution LSRV
Manitou
[7 empty] | Road |  | S127 |  | Station 117 |  | Station 156 |  | Station 192 |  | Station 46 |  | Station 51
|  |  | [A] |  | [B] |  | [C] |  | [D] |  | [E] |  | [F] |  | [G] |  | [H] |  | [I]
-1 | Number of projects considered1 |  | 0 |  | 2 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
Marginal investment with general plant loading:
-2 | Investment in growth projects ($) |  | 0 |  | 18784662.9482 |  | 9171748.2038 |  | 8595298.5654 |  | 16120421.9993 |  | 14695421.9993 |  | 8610196.4943 |  | 12797622.3662 |  | 15198815.4383
-3 | Investment in growth projects (kW) |  | 0 |  | 131000 |  | 56000 |  | 22400 |  | 37300 |  | 28000 |  | 14000 |  | 44800 |  | 28000
-4 | Investment in growth projects ($/kW) | (2)/(3) | 0 |  | 143.3944 |  | 163.7812 |  | 383.7187 |  | 432.1829 |  | 524.8365 |  | 615.014 |  | 285.6612 |  | 542.8148
-5 | Typical reserve margin (%)2 |  | 0% |  | 30% |  | 30% |  | 30% |  | 30% |  | 30% |  | 30% |  | 30% |  | 30%
-6 | Investment in growth projects after reserve margin ($/kW) | (4)*[1+(5)] | 0 |  | 186.4127 |  | 212.9156 |  | 498.8343 |  | 561.8378 |  | 682.2874 |  | 799.5182 |  | 371.3596 |  | 705.6593
-7 | Portion of the system that is growing (%)3 |  | 0% |  | 16.93% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100% |  | 100%
-8 | Marginal investment ($/kW) | (6)*(7) | 0 |  | 31.5641 |  | 212.9156 |  | 498.8343 |  | 561.8378 |  | 682.2874 |  | 799.5182 |  | 371.3596 |  | 705.6593
-9 | General plant loading (%)4 |  | 0% |  | 33.4% |  | 33.4% |  | 33.4% |  | 33.4% |  | 33.4% |  | 33.4% |  | 33.4% |  | 33.4%
-10 | Marginal investment with general plant loading ($/kW) | (8)*[1+(9)] | 0 |  | 42.1065 |  | 284.0294 |  | 665.4449 |  | 749.4916 |  | 910.1715 |  | 1066.5573 |  | 495.3937 |  | 941.3495
Annual cost before O&M and working capital:
-11 | Annual economic carrying charge related to capital investment (%)5 |  | 0% |  | 10.35% |  | 10.35% |  | 10.35% |  | 10.35% |  | 10.35% |  | 10.35% |  | 10.35% |  | 10.35%
-12 | A&G loading (plant-related) (%)6 |  | 0% |  | 0.03684% |  | 0.03684% |  | 0.03684% |  | 0.03684% |  | 0.03684% |  | 0.03684% |  | 0.03684% |  | 0.03684%
-13 | Total annual carrying charge (%) | (11)+(12) | 0% |  | 10.38% |  | 10.38% |  | 10.38% |  | 10.38% |  | 10.38% |  | 10.38% |  | 10.38% |  | 10.38%
-14 | Annual cost before O&M and working capital ($/kW-year) | (10)*(13) | 0 |  | 4.372 |  | 29.4911 |  | 69.0938 |  | 77.8205 |  | 94.504 |  | 110.7418 |  | 51.4372 |  | 97.7413
Annual O&M charge:
-15 | O&M expenses before spreading ($/kW-year)7 |  | 0 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572
-16 | O&M expenses after spreading ($/kW-year) | (7)*(15) | 0 |  | 0.31447 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572 |  | 1.8572
-17 | With A&G loading (non-plant-related) ($/kW-year)8 | (16)*1.89% | 0 | 0 | 0.0059345 | 0 | 0.035048 | 0 | 0.035048 | 0 | 0.035048 | 0 | 0.035048 | 0 | 0.035048 | 0 | 0.035048 | 0 | 0.035048
-18 | Annual O&M charge ($/kW-year) | (16)+(17) | 0 |  | 0.3204 |  | 1.8923 |  | 1.8923 |  | 1.8923 |  | 1.8923 |  | 1.8923 |  | 1.8923 |  | 1.8923
Annual working capital charge:
-19 | Material and supplies ($/kW-year)9 | (10)*0.25% | 0 | 0 | 0.10451 | 0 | 0.705 | 0 | 1.6517 | 0 | 1.8603 | 0 | 2.2592 | 0 | 2.6473 | 0 | 1.2296 | 0 | 2.3366
-20 | Prepayments ($/kW-year)10 | (10)*1.20% | 0 | 0 | 0.50341 | 0 | 3.3957 | 0 | 7.9557 | 0 | 8.9606 | 0 | 10.8816 | 0 | 12.7513 | 0 | 5.9227 | 0 | 11.2543
-21 | Cash working capital allowance ($/kW-year)11 | (18)*12.50% | 0 | 0 | 0.04005 | 0 | 0.23653 | 0 | 0.23653 | 0 | 0.23653 | 0 | 0.23653 | 0 | 0.23653 | 0 | 0.23653 | 0 | 0.23653
-22 | Total working capital ($/kW-year) | (19)+(20)+(21) | 0 |  | 0.64797 |  | 4.3373 |  | 9.844 |  | 11.0574 |  | 13.3773 |  | 15.6351 |  | 7.3889 |  | 13.8274
-23 | Annual working capital charge ($/kW-year)12 | (22)*9.01% | 0 | 0 | 0.058352 | 0 | 0.39058 | 0 | 0.88649 | 0 | 0.99576 | 0 | 1.2047 | 0 | 1.408 | 0 | 0.66539 | 0 | 1.2452
-24 | Total annual cost before losses ($/kW-year) | (14)+(18)+(23) | 0 |  | 4.7507 |  | 31.7739 |  | 71.8726 |  | 80.7085 |  | 97.601 |  | 114.042 |  | 53.9949 |  | 100.8788
-25 | Loss factor13 |  | 0 |  | 1.0555 |  | 1.0555 |  | 1.0555 |  | 1.0555 |  | 1.0555 |  | 1.0555 |  | 1.0555 |  | 1.0555
-26 | Total annual cost ($/kW-year) | (24)*(25) | 0 |  | 5.0145 |  | 33.5385 |  | 75.8641 |  | 85.1908 |  | 103.0214 |  | 120.3755 |  | 56.9936 |  | 106.4812
Footnotes:
1 | Sourced from the 2015 MCOS study performed by NERA for RG&E.
2 | All LSRV areas are considered to be growing.
3 | Sourced from the 2015 MCOS study performed by NERA for RG&E. Based on historic cumulative additions to plant using regressions of cumulative additions to general and common plant on cumulative additions to total
plant less common and general, functional dummy variable reflecting shifts in underlying costs.
4 | Reflects the first-year annual economic carrying charge related to incremental investments, incorporating the most recent capital structure and WACC, including changes resulting from the 2017 Tax Act.
5 | Reflects the ratio of property insurance premiums to property insured.
6 | Relies principally on FERC Form 1 data to compare total distribution station O&M expenses to upstream and distribution non-coincident peak load, adjusted by the labor and materials index.
7 | Relies principally on FERC Form 1 data to determine the ratio of social security and unemployment taxes to O&M less fuel, purchased power and transmission by others.
8 | Relies principally on FERC Form 1 and PSC data to determine the ratio of materials and supplies relative to total distribution plant.
9 | Relies principally on FERC Form 1 data to determine the ratio of electric distribution share of prepayments relative to electric distribution plant.
10 | Per FERC approach of allowing 1/8 of O&M as a cash working capital allowance.
11 | Multiplies the total working capital by the revenue requirement for working capital factor, as derived from the company's capital structure, cost of capital, and marginal tax rate.
12 | Accounts for demand losses occurring between the point at which the marginal costs are measured and the location of the distributed generation on the system.